7800 E. Michigan Ave.

Kalamazoo, Michigan  49048

Phone: (800) 521-2546

Fax: (269) 381-3455

www.landscapeforms.com

specify@landscapeforms.com

Theory Shelter

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Edition.

SECTION 10 73 43     TRANSIT STRUCTURES

Specifier Notes:  This section covers Landscape Forms, Inc.  “Theory” shelter.  Consult Landscape Forms, Inc. for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Shelter.

1.2	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM Testing Standards:

1.	ASTM B 117 – Standard Practice for Operating Salt Spray (Fog) Apparatus.

2.	ASTM D 522 – Standard Test Methods for Mandrel Bend Test of Attached Organic Coatings.

3.	ASTM D 523 – Standard Test Method for Specular Gloss.

4.	ASTM D 2247 – Standard Practice for Testing Water Resistance of Coatings in 100% Relative Humidity.

5.	ASTM D 2794 – Standard Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact).

6.	ASTM D 3359 – Standard Test Methods for Measuring Adhesion by Tape Test.

7.	ASTM D 3363 – Standard Test Method for Film Hardness by Pencil Test.

8.	ASTM G 155 – Standard Practice for Operating Xenon Arc Light Apparatus for Exposure of Non-Metallic Materials.

B.	ISO Testing Standards:

1.	ISO 1520 – Paints and Varnishes – Cupping Test.

2.	ISO 2815 – Paints and Varnishes – Buchholz Indentation Test.

C.	International Building Code (IBC) 2015 Standard:

1.	130mph wind load, Exposure D, 50psf snow load

1.3	SUBMITTALS

A.	Product Data: Submit manufacturer’s product data, storage and handling requirements and recommendations, installation methods and available colors, styles, patterns and textures.

B.	Shop Drawings: Submit manufacturer’s shop drawings, including plans and elevations, indicating overall dimensions.

C.	Samples:  Submit manufacturer’s samples of materials, finishes, and colors.

D.	Warranty: Manufacturer’s standard warranty.

1.4	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications: Manufacturer regularly engaged in manufacture of site furnishings since 1969.

B.	Product Support: Products are supported with complete engineering drawings and design patents.

C.	Base Worth: An installed base of products worth in excess of one hundred million dollars.

D.	Assets: Excess of twenty million dollars in assets.

E.	Production: Schedule for production is order dependant.

F.	Facility Operator: Welders and machine operators are certified.

1.5	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.	Storage: Store materials in clean, dry area in accordance with manufacturer’s instructions.  Keep materials in manufacturer’s original, unopened containers and packaging until installation.

C.	Handling:  Protect materials and finish during handling and installation to prevent damage.

1.6	WARRANTY

A.	Warranty Information:

-Landscape Forms, Inc. warrants all products (other than noted exceptions) to be free from defects in material and/or workmanship for a period of three years from date of invoice. Noted exceptions: LED lighting products are warranted for six years.

-The warranty does not apply to damage resulting from accident, alteration, misuse, tampering, negligence, or abuse.

- Landscape Forms, Inc. shall, at its option, repair, replace, or refund the purchase price of any items found defective upon inspection by an authorized Landscape Forms service representative.

-Purchasers should be aware that normal use of these high quality products can result in superficial damage affecting the finish.  Scratches, nicks, and dents are to be considered normal wear and tear, and are not the responsibility of the manufacturer.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Landscape Forms, Inc., 7800 E. Michigan Ave, Kalamazoo, Michigan 49048.                       Phone: (800) 521-2546. Fax (269) 381-3455.  Website www.landscapeforms.com                       E-mail:  specify@landscapeforms.com

2.2	SHELTER

A.	 “Theory” shelter:

B.	Post Quantity:

1.	1 Post

2.	2 Posts

3.	3 Posts

4.	4 Posts

C.	Roof option:

1.	Glass roof panels

2.	Metal roof panels

D.	Lighting option:

1.	No lighting

2.	With lighting – 2700K

3.	With lighting – 3000K

4.	With lighting – 3500K

5.	With lighting – 4000K

2.3	MATERIALS

A.	Posts: Vertical post and roof beam are 6061 alloy aluminum extrusions, 0.25” thick, welded to corner 319/356 aluminum casting and 3/4” thick aluminum 6061 alloy base plate. Access hole covers are 319 or 356 aluminum castings, bolted to lower vertical castings.

B.	Post end cap:  aluminum casting, bolts to roof beam with Magni-coated flat head screws.

C.	Interior post: 1” thick steel base plate welded to 1.2” x 3.2” steel flat bar post.

D.	Shelter glass rest plate:  1/2” thick aluminum plate

E.	Wall backing plates:  3/8” aluminum plate

F.	Roof top strip:  3/8” aluminum plate

G.	Cover plate:  two cast aluminum halves, bolts together with (2) 1/4-20 x 3/4” set screws, with (4) clamping screws installed.

H.	Roof Assembly:  panels bolted to roof beam with Magni-coated hardware.

1.	Solid metal roof option: aluminum honeycomb panel, EPDM gasket material on both sides of panel at roof beam location.

2.	Glass roof option: Structure consists of laminated safety glass with 1/4” gray tinted solar glass; inner laminated ply of SentyGlass®Plus Ionoplast (SGP) 0.090”, and 1/4” clear frosted bottom ply. EPDM gasket material on both sides of panel at roof beam location.

I.	Wall panels: 3/8" thick, clear, tempered glass. Frosted glass safety decals included, applied by customer. Attaches to post with Magni-coated flat head screws. Outer vertical edges of glass panels include anodized aluminum channels for trim, field-installed using outdoor rated silicone (not included).

J.	Anchoring hardware: (4) 7/8” x 15” galvanized steel L-bolts, (8) 3/4” washers, (8) 3/4-10 hex nuts included.

K.	Lights: if unit is ordered with lights, LED/driver assembly is factory installed in post end cap. Includes pre-wired18 gauge 3 wire SOOW  cable for installation in roof beam and vertical post to connect to customer-supplied line-in voltage wires at base of post.

1.	LED boards:  Nichia 219C LED mounted to a RoHS compliant FR4 circuit board with integrated overvoltage protection. Acrylic optics affixed to each board; 3M™ thermal interface material used to bond boards to cartridge assembly.

2.	Lens:  diffused acrylic

3.	Driver: Class 2 output; Suitable for dry and damp locations; Input: 120-277VAC, 50/60Hz; UL listed, UL8750 Class P, max 6W, 2-20 VDC / 0.12-0.07A. Non-dimmable.

4.	Driver mounting plate:  formed aluminum sheet

2.4	RECYCLED CONTENT

A.	Theory : Contact Landscape Forms for recycled content based on configuration.

2.5	FINISHES

A.	Finish on Metal:  Landscape Forms, Inc. “Pangard II”.

1.	Primer:  Rust inhibitor.

2.	Topcoat:  Thermosetting TGIC polyester powder coat.  UV, chip, and flake resistant.

3.	Test Results:  “Pangard II”.

a.	Gloss Consistency, Gardner 60 Degrees, ASTM D 523:  Plus or minus 5 percent from standard.

b.	UV Resistance, Color and Gloss, ASTM G 155, Cycle 7:  Delta E less than 2 at 2.0 mils and less than 20 percent loss.

c.	Cross-Hatch Adhesion, ASTM D 3359, Method B:  100 percent pass.

d.	Flexibility Test, Mandrel, ASTM D 522:  3 mm at 2 mils.

e.	Erichsen Cupping, ISO 1520:  8 mm.

f.	Impression Hardness, Buchholz, ISO 2815:  95.

g.	Impact Test, ASTM D 2794:  60 inch-pounds at 2.5 mils.

h.	Pencil Hardness, ASTM D 3363:  2H minimum.

i.	Corrosion Resistance, 1,500-Hour Test, ASTM B 117:  Max undercutting 1 mm.

j.	Humidity Resistance, 1,500-Hour Test, ASTM D 2247:  Max blisters 1 mm.

Specifier Notes:  Specify color of metal.  Consult Landscape Forms, Inc. for selection of standard colors and availability of custom colors.

- Color:

a.	Posts: _____________________

b.	Roof (if metal): _____________________

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive shelter.

B.	Notify Architect of conditions that would adversely affect installation or subsequent use.

C.	Do not begin installation until unacceptable conditions are corrected.

3.2	INSTALLATION

A.	Install shelters in accordance with manufacturer’s instructions at locations indicated on the Drawings. Refer to product drawings for max allowable slope.

B.	Install shelter: Per installation instructions, level front to back, Note: this is site specific!

C.	Anchor shelters securely in place in accordance with applicable codes and anchor manufacturer's standards.  Anchoring procedure is the responsibility of the installer.

3.3	ADJUSTING

A.	Finish Damage: Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.

B.	Component Damage: Remove and replace damaged components that cannot be successfully repaired as determined by Architect.

3.4	CLEANING

A.	Clean shelters promptly after installation in accordance with manufacturer’s instructions.

B.	Do not use harsh cleaning materials or methods that could damage finish.

3.5	PROTECTION

A.	Protect installed shelters to ensure that, except for normal weathering, shelters will be without damage or deterioration at time of Substantial Completion.

END OF SECTION